Laboratory Practice Exercises / Group Scenario 1

Specimen Collection, Laboratory Diagnostics, and Biosafety Issues: Laboratory Practice Exercises
Facilitator Guide

General Instructions:
These exercises should be performed in smaller break-out groups, so that questions or problems participants may have can be addressed. On the pages that follow, you will have participants work through scenarios related to laboratory diagnosis of novel influenza.  Each scenario is preceded by specific instructions.  Some scenarios will give participants an opportunity to practice specimen collection methods; others will include discussion questions to answer.  A numbered outline of the scenarios is provided below.  Participants will complete the scenarios in the order in which they are listed, just as you would when working with a real suspected novel influenza case.  For part 2, make sure you have any needed equipment in advance. There is a total of 2 hours for this group scenario.  

If you have access to PPE for the participants to use in the role-playing exercise, please have it available.
If you are able to show videos during this scenario, have the following video ready for later use:

https://www.jointcommission.org/siras.aspx
1.  Determine a sampling time schedule for a suspected novel influenza case 
2.  Perform antecubital venipuncture and collect nasopharyngeal, nasal, and throat specimens while wearing personal protective equipment
3.  Fill in a laboratory form

4.  Package specimens and label the package
5.  Perform a laboratory risk assessment to identify potential hazards as well as control and 

     protection mechanisms.

6.  Analyze laboratory data
1. Case Study:  
The Sampling Time Frame for a Suspect Novel Influenza Case 

Instructions:
Have participants read the case study background information below.  Then participants will work together as a group to develop a response to each of the five discussion questions. 
Scenario
A six-year-old girl presented to a local hospital with fever, cough, and sore throat on January 2nd.  She was admitted with a high fever and difficulty breathing.  Her mother reported that the girl’s symptoms started on January 1st.  The mother also reported that several of their chickens had died one week ago. 

The doctor suspected novel influenza and called you for advice. 

Questions:

1. What type of specimens should be collected?

Facilitator Answer: The best single specimen for influenza virus diagnosis is a nasopharyngeal swab or aspirate.  Optimally, this can be combined with an OP swab which is put in the same VTM as the nasopharyngeal specimen (swab or aspirate).  An acute blood sample could also be taken for the purpose of monitoring antibody responses.

2. When should the specimens be collected?

Facilitator Answer: The respiratory and acute blood serum specimens should be collected as soon as possible – ideally within the first 3 days after onset of clinical symptoms.  Convalescent sera should also be taken about 2 weeks after onset.  Often times, in the field, this is all that is possible and practical.  However, if possible, multiple sequential samples of all samples may be useful to better understand the natural history of the illness.  The specimens collected may also depend on the status of the patient at hand. 
3. If the girl had presented at the clinic 4 days after her symptoms began, would you change your choice of what specimens to collect?

Facilitator Answer: No, choice of what specimens to collect should not change. Even though one is most likely to recover influenza virus when the sample is taken within 3 days of symptom onset, it is also possible to recover virus in samples taken at a later time. 

4. How should the specimens be stored before they are sent to the laboratory?

Facilitator Answer: The specimens should be stored at 4 °C (such as in a refrigerator) until they can be transported to the laboratory. 

5. If there is a delay in sending the samples to the laboratory, what should you do with the samples?  After what timeframe should you freeze the sample, if a -70oC freezer is available?
Facilitator Answer:  Respiratory samples should be kept at 4oC ideally for no longer than 3 days.  Specimens should then be stored in a - 70 °C freezer.  If a - 70 °C freezer cannot be located, keep samples in the refrigerator at 4 °C.  Do not put them in a normal freezer.  Serum samples can be kept either in a - 70 °C freezer or a normal freezer (- 20 °C). The most important point is to avoid freezing and thawing the samples multiple times.
Update

You advise the doctor on what specimens should be collected. Later that day, the doctor calls you again. He tells you that the girl’s mother has refused to allow nasal swabs to be collected from her child, and that she refuses to have more samples taken over the next several days. The doctor himself does not understand why so many specimens are necessary.

6. You must explain to the doctor why multiple samples are necessary, so he can explain this to the patient’s mother. What do you tell him?

Facilitator Answer:  Explain to the doctor the status of avian and novel influenza in your country (this will change over time) and the importance of correctly diagnosing novel influenza in order to contain the infection. The ability of a laboratory test to detect the virus will depend on the amount of virus present in the patient sample, the storage, handling, and shipping conditions of the sample, and the accuracy and correct performance of the laboratory test. With so many potential problems, it is very important to take multiple samples on multiple days. The doctor may explain to the mother that the laboratory tests will help determine the best way to treat the child and improve her illness. The doctor should find a way to work through cultural or religious sensitivities if this becomes a problem (solutions will vary depending on the situation). 
2.  Practice clinical sample collection: Antecubital venipuncture, nasopharyngeal aspirate, nasopharyngeal swab, throat swab, and nasal swab
Instructions: 
In a module presentation, the instructor demonstrated how to perform respiratory specimen collection and antecubital venipuncture.  Participants will now have the opportunity to perform these tasks wearing appropriate personal protective equipment.  As some of these procedures are invasive, you may have participants perform some of these tasks on a dummy or just act them out.  Each person in the group should practice the specimen collection procedures.  If you have an even number of participants in a group, you may find it easiest to have participants complete this activity in pairs. Note that these three activities can be done in any order. If no PPE is available, please make sure to describe proper donning and doffing of PPE.
1. Nasopharyngeal swab (see attached sheet for more detailed instructions)

2. Oropharyngeal swab (see attached sheet for more detailed instructions)

3. Nasopharyngeal aspirate (see attached sheet for more detailed instructions)

4. Antecubital venipuncture (see attached sheet for more detailed instructions)

Nasopharyngeal Swab Collection

	1. Gather supplies, including a vial containing Viral Transport Medium (VTM), and a swab.  



	2. Label the vial containing VTM with the patient’s identification number.

3. Tilt the patient’s head back 70 degrees.

4. Using a flexible aluminum or plastic fine-shafted saw with polyester, Dracon, or rayon tip - Do not use cotton or calcium alginate - insert the swab into the nostril.  The swab should reach depth equal to distance from nostrils to outer opening of the ear.  Leave the swab in place for several seconds to absorb secretions.

 
      [image: image2.png]© nasopharyngeal swab coll- X = @) oropharyngeal swab colle: X | [&]1 X Manual of Procedures for X = 4

a8 e | www.who.int/ihr/publications/CDS_EPR_ARO_2006_1.pdf

Add your first bookmark by using the heart in the address bar or

© Use the same type of rigid swab as for sampling from the throat. Advance the swab tip past the
vestibule (anterior nares) to the nasal mucosa (approximately 2—3 cm from the nostrils in adults)
and gently rotate to collect nasal secretions from the anterior portions of the turbinate and septal
83 mucosa (Fig 13).

O
o
®
c ,
Fig 13. Anterior nasal swab
e) Blood specimens
.

- Chncadawd mnvennnrsdbineans ~Alnm1 A Alevrnacrn lana Alicnceerad vvdlanen 4nliien v Aen A a1~ 1.~ 4

A dx 124spm B




Note: image obtained from:  WHO http://www.who.int/ihr/publications/CDS_EPR_ARO_2006_1.pdf 

5. Slowly remove the swab while rotating it.  Swab both nostrils with the same swab.

6. Place the tip of the swab into sterile viral transport media tube and snap/cut off the applicator stick.

7. Replace the cap securely to prevent leakage during transport.

Oropharyngeal Swab Collection

1. Gather supplies, including a vial containing Viral Transport Medium (VTM), tongue depressors (if available), and a swab.

2. Label the vial containing VTM with the patient’s identification number.

3. Swab the posterior pharynx and tonsillar areas, avoiding the tongue.  Use of tong depressor may be helpful.

             [image: image3.png]© nasopharyngeal swab coll- X = @) oropharyngeal swab colle: X | [&]1 X Manual of Procedures for X = 4

C 88 e |Www.who.int/ihr/pub|ications/CDS_EPR_ARO_2006_1.pdf

Add your first bookmark by using the heart in the address bar or Import bookmarks now

oo
oo

Fig 10. Taking a throat swab

Posterior
Pharynx

sMasopharyngeal swab

| O 1[I 2 m P1 vl B ™ A x





Note: image obtained from:  WHO http://www.who.int/ihr/publications/CDS_EPR_ARO_2006_1.pdf
4. Place the tip of the swab into sterile viral transport media tube and snap/cut off the applicator stick. 
5. Replace the cap securely to prevent leakage during transport.


Nasopharyngeal Aspirate Collection

	1. Gather supplies, including a vial containing Viral Transport Medium (VTM), a vacuum, a mucus trap, and a catheter.



	2. Label the vial containing VTM with the patient’s identification number.



	3. Attach the suction catheter to the mucus trap and to the vacuum.


	[image: image4.png]




	4. Measure the distance from the patient’s nostril to the base of the ear; the aspirate tube should depth equal to distance from nostrils to outer opening of the ear.  Do not insert the catheter beyond that point.


	[image: image5.png]





	5. Place the catheter into the nostril, parallel to the palate.  Apply the vacuum.  Obtain secretions from the nasopharynx.  Repeat with the other nostril, using the same tube.


	[image: image6.png]




	6. Flush the catheter with 3 ml VTM and return the VTM to a plastic vial.
	[image: image7.png]





Note: these pictures were used with permission from http://www.hopkinsmedicine.org/heic/ID/influenza/npa.html
	
	
	Venipuncture

For use with vacutainer tubes

Always use universal safety precautions.
	

	
	
	


	[image: image8.jpg]



	[image: image9.jpg]



	[image: image10.jpg]




	1. Collect supplies. 
	2. Label tube with the client identification number.
	3. Put tourniquet on client about 3 - 4” above venipuncture site. 

	[image: image11.jpg]



	[image: image12.jpg]



	[image: image13.jpg]




	4. Have client form a fist so veins are more prominent. 
	5. After palpating the path of the vein, clean the venipuncture site with alcohol using a circular motion.  Allow the area to dry. 
	6. Assemble needle and vacuum tube holder.

	[image: image14.jpg]



	[image: image15.jpg]



	[image: image16.jpg]




	7. Insert the collection tube into the holder until the tube reaches the needle.
	8. Remove cap from needle.
	9. Use your thumb to draw skin tight about 1 - 2” below the venipuncture site. Hold skin tight through Step 10.

	[image: image17.jpg]



	[image: image18.jpg]



	[image: image19.jpg]




	10. Insert the needle, bevel side up, into the vein.
	11. Push the vacutainer tube completely onto the needle.  Blood should begin to flow into the tube.
	12. Release the tourniquet.

	[image: image20.jpg]



	[image: image21.jpg]



	[image: image22.jpg]




	13. Fill the tube until it is full or until vacuum is exhausted.
	14. After opening client’s hand, place dry gauze over the venipuncture site.
	15. Apply mild pressure to the pad and slowly remove the needle.

	
	[image: image23.jpg]



	[image: image24.jpg]



	
	[image: image25.jpg]



	[image: image26.jpg]



	

	
	16. Apply bandage or continue applying mild pressure until bleeding has stopped.
	
	17. Properly dispose of all contaminated 
supplies.
	


	
	Use of trade names and commercial sources is for identification only and does not imply endorsement by WHO, the Public Health Service, or by the U.S. Department of Health and Human Services (2005).


	


NOTE: Blood collection needles may be different than pictured above. Below are other needles that might be used for blood draw. 

	[image: image27.png]



	[image: image28.jpg]





Notes on Separation of Serum and Plasma:

Blood samples need to be centrifuged for at least five minutes at 1500g (3000 rpm).  This requires an electric centrifuge (ideally with a sing out head rather than an angle head rotor).  Hand centrifuges are not adequate for the separation of serum or plasma from red cells.

Serum separator tubes (SST)

The instructions for use of these tubes must be followed carefully if the tubes are to work properly.  The tubes contain a gel (with an intermediate density between blood cells and blood plasma) and (usually) a coagulation (clot) activator

• Put the blood sample into the tube and then follow the instructions for mixing the

  contents.

• Allow the clot to form (follow the instructions with the tube — do not cut the clotting

  process short).

• Centrifuge the tube according to the relevant instructions.

When a filled SST has been properly centrifuged, the sample will separate into a top layer of serum separated by a gel barrier from the cell/clot layer and the clot activator.

    [image: image29.png]Gel barrier
Clot

Serum

o o d o e





Note: images obtained from http://www.who.int/ihr/publications/CDS_EPR_ARO_2006_1.pdf?ua=1
Clotting tubes

If a basic sampling tube without any additives is used the clot can be allowed to form overnight

and the serum pipetted off the next day. Serum should not be left in contact with the clot for more than 12 hours, as lysis of the red cells can occur.  Whichever type of tube is used, once the serum has been separated it should be pipetted off without disturbing the gel barrier or the clot. Put the serum into a vial such as a cryovial (without VTM). Ideally vials for transport of serum should have external caps and internal O-ring seals. If there is no internal O-ring seal, ensure the cap is closed tightly and then sealed with an inert sealing film such as Parafilm®.

EDTA tubes

Centrifuge the tubes at high speed (ca 10 000 g) to compact the cellular fraction and then pipette

off the plasma taking care not to draw blood cells off at the same time.  Note:  For the purpose of collecting specimen to conduct serology to monitor antibody responses, sera collection tubes (not EDTA tubes) are preferred.  
Filter paper

Blood or serum specimens can also be shipped in air dried form on filter paper discs or special

filter paper strips (Nobuto strips). Volumes of 0.1 ml of whole blood or serum are put onto the strip which is then air dried. Strips of this sort can be stored for months at room temperature.

Transport

Blood specimen bottles and tubes should be transported upright and secured in a screw cap

container or in a rack in a transport box. They should have enough absorbent paper around them to soak up all the liquid in case of spillage.
Facilitator Answer:  In addition to discussing the various ways of sample collection, facilitators must also discuss the proper donning and doffing of personal protective equipment.  Further, it is useful for facilitator to also comment on the need for annual respirator fit testing and proper use of N95 respirators including limitations.  Some of the limitations include:  1) Reminder that the respirator does not supply oxygen and should not be used in atmospheres containing less than 19.5% of oxygen; 2) Should not be used when concentrations of contaminants are immediately dangerous to life and health, are unknown, or when concentrations exceed 10 times the permissible exposure limit; 3) Should not be used with beards or other facial harir or other conditions that prevent a good seal between the face and the sealing surface of the respirator; 4)  individuals with a compromised respiratory system, such as asthma or emphysema, should consult a physician and complete a medical evaluation prior to use.  Facilitators should also remind participants that to guarantee a good seal, anyone required to wear a respirator should be fit tested annually to identify the proper make, model, and even brand that is needed for the individual to carry out activities with proper seal.  If there is enough time, in addition to discussing the sample collection techniques, the facilitator is encouraged to show the following videos for sample collection prior to having the class perform the activity.  The facilitator should explain that these videos were done as a collaboration between the CDC and the Joint Commission.  https://www.jointcommission.org/siras.aspx
3.  Practice Scenario:  Fill in a laboratory form

Instructions: 

The previous scenario is continued below.  Please have participants read the scenario and then use the information provided to identify variables/information that should be included in a laboratory specimen form.  Note: The identification numbers given in the scenario can be altered to reflect the identification number system used in a given country.

Scenario

A six-year-old girl named Jane presented to a local hospital (Fever hospital, Palmtown) with fever, cough, and sore throat on January 2, 2007.  She was admitted with a high fever and difficulty breathing.  The child lives with her family at 555 Moo 6, Bumpy Road, Palmtown, Tropica.  Her mother reported that the girl’s symptoms started on January 1st and also reported that the child had not been vaccinated against influenza.  The mother also stated that several of their chickens had died one week ago.  The child’s birth date is November 22, 2000.  

Although the child was alert on January 2nd, she was on a ventilator when Dr. Friendlyman requested endotracheal aspirates and blood sample be collected.  The endotracheal aspirate was given the number 730087 and the blood sample was given the unique number 730088.  The child fully recovered, and a second blood sample was taken on January 20th.  It was given the number 730889.

Question: What variables should be accounted for in a laboratory specimen form?

Facilitator Answer:  The following are a list of variables that should be accounted for in a laboratory specimen form.  Note 1: some of the variables are assumed and thus not included in the scenario above (i.e. contact details for specimen collector).  Note 2:  A standard format for variable transcription should also be provided (i.e. date).  If possible, participants are encouraged to review their laboratory form to see if these variables are included. 

List of variables to be included in a laboratory form
	Patient’s name 

(Given name of patient, Family name of patient)
	Contact details for specimen collector 

(i.e. phone, email address) 

	Date of birth of patient (dd/mm/yy)
	Sex of patient (M, F)

	Patient’s hospital/clinic number
	Patient’s contact information (i.e. address)

	Type of specimen collected
	Date of specimen collection

	Health status of patient when specimen was collected
	Date of symptom onset

	Antiviral treatment received (specifically neuraminidase inhibitors) 
	Date and timing of antiviral  treatment (neuraminidase inhibitors )

	Other comments about the patient:
	


4. Practice: Pack specimens and label the package

Instructions: 

Earlier, we discussed how to package specimens and label a package.  Participants will now have the opportunity to pack and label a specimen transport package.  This procedure is country-specific, but some universal guidelines and a diagram are provided below:

- Transport of specimens should comply with the WHO guidelines for the safe transport of infectious substances and diagnostic specimens 

 - The receiving laboratory should be notified before shipment of specimens in order to arrange for an import license for the specimens
 - Follow the regulations of the country where the specimens are being transported 

 - Label the package to comply with international air transportation (IATA) regulations

 - Make sure the package is leak proof and contains less than 500 ml of liquid.  There should be three layers, with absorbent material in each layer.  The first or second packaging should be able to withstand a pressure differential of 95 Pa (0.95 bar).
Note:  Information obtained from:
http://apps.who.int/iris/bitstream/10665/254788/1/WHO-WHE-CPI-2017.8-eng.pdf?ua=1
Questions:

1. What category should the patient’s specimen that was described be shipped?  Would you change anything if this had been a cultured specimen and you were shipping highly pathogenic avian influenza virus isolates?
Facilitator Answer: Most of the samples and cultures suspected of influenza can be shipped in category B.  However, only culture of highly pathogenic avian influenza virus must be sent in category A.  
Category A Packaging Requirements

[image: image30.png]P Cap

Absorbent material

Primary container
(test tube)

Specimen record (includes itemized list

S d tai
econdary container of contents)

(watertight) \

Outer packaging

Package orientation
label (not mandatory

when primary container
does not exceed 50 mL)

"

ONSIBLE per:

R JORN DR N
L0000 Sy

UN specification marking




Category B Packaging Requirements 

[image: image31.png][ / Primary container
Watertight (leak-proof and spill-proof)
- S L Holder (styrofoam
or sponge)
Absorbent — == /
packing
material

Itemized list of
contents (specimen
record)

Secondary container . Rigid outer
(leak-proof and

o packaging
spill-proof) ﬁ%ﬂu
Proper Shipping

13 Name (PSN)
o

UN Number

Sender/recepient
labels



 Note:  Images obtained from  

http://apps.who.int/iris/bitstream/10665/254788/1/WHO-WHE-CPI-2017.8-eng.pdf?ua=1
5.
Group Discussion: Perform a Laboratory Risk Assessment 

Instructions: 

Earlier, we discussed how to conduct a Laboratory Risk Assessment for any given laboratory procedure.  You will now need to perform a similar task for the endotracheal aspirate collected in the previous scenario.  Use the attached Laboratory Risk Assessment Template to have participants complete the exercise.
	Procedure
	Potential Hazard(s)
	Control/Protection
	Additional Information

	A.   Package receipt and transfer of packages to testing area
	Leaking Package
	· Place leaking package in plastic bag and transfer to a Biological Safety Cabinet (BSC)
· PPE: nitrile/latex gloves, lab coat, safety glasses
	· Immediately contact Safety Officer

· Disinfect exterior of sealed plastic bag prior to transfer to testing area
· Disinfect area where leaking package was placed

	
	Unexpected delivery
	· Immediately transfer to BSC
· Deliver specimen in original category B packaging to testing area
	· Notify key staff of expected package delivery
· All category B Packages opened with safety blades in certified class II BSC with safety precautions

	B.   Transport of specimens between testing areas


	Breakage of the specimen container
	· Specimens should be transported in a clearly labeled, durable, shatter and leak-proof transport container directly to the specimen handling area of the laboratory

	· Decontaminate all surfaces of transport container prior to reuse


	C.   Preparation of specimens for testing
	Aerosolization, Splash/Splatter
	· Use only trained personnel with experience in infectious disease testing, minimize the number of workers handling specimens if possible
· Work inside a certified class II BSC with the sash at the appropriate level
· Minimize unnecessary movements while working in the BSC.  Follow acceptable BSC practices
· Use enhanced BSL-2 practices that include the following PPE: fluid resistant back-closing gown, double gloves and safety glasses, goggles or disposable full-face plastic shield
· Limit the traffic around the BSC.
· In the BSC, work over a decontamination solution moistened plastic backed absorbent pad
· Use only pipette tips with barrier filters
· Have a dedicated rigid waste container in the BSC
· If making aliquot tubes: Wipe outside of primary and aliquot tubes before removing from BSC
	· No exposed skin inside the BSC
· Bring all necessary material into the BSC before starting to work.
· Including decontamination with an intermediate level disinfectant

· Minimize use of sharps. Dispose of all pipette tips and sharps in the dedicated container in the BSC
· Specimens, equipment, and all materials must be decontaminated before removing from BSC
· DO NOT set up any viral cultures                                                 


Facilitator Notes:  Note 1: although only three procedures were included in the template, if time allows, participants are encouraged to think of other procedures requiring risk assessments (i.e. RNA extraction, waste autoclaving, etc.); Note 2: It is important to highlight that non-engineering controls are equally as important as engineering controls and that there are many ways to help reduce the hazards associated with the procedures; Note 3:  The following document highlights some components that could be accounted for in a risk assessment exercise.    http://www.who.int/influenza/human_animal_interface/influenza_h7n9/InterimRecLaboratoryBioriskManagementH7N9_10May13.pdf
6.
Group Discussion: Laboratory tests 

Instructions: 

The previous scenario is repeated below.  This time participants will apply what they have learned in the modules to answer the questions that follow.  

Scenario

A six-year-old girl named Jane presented to a local hospital (Fever Hospital, Palmtown) with fever, cough, and sore throat on January 2, 2007.  She was admitted with a high fever and difficulty breathing.  The child lives with her family at 555 Moo 6, Bumpy Road, Palmtown, Tropica.  Her mother reported that the girl’s symptoms started on January 1st and also reported that the child had not been vaccinated against influenza.  The mother also stated that several of their chickens had died one week ago.  The child’s birth date is November 22, 2000.  

Although the child was alert on January 2nd, she was on a ventilator when Dr. Friendlyman requested endotracheal aspirates and blood sample be collected.  The endotracheal aspirate was given the number 730087 and the blood sample was given the unique number 730088.  The child fully recovered, and a second blood sample was taken on January 20th.  It was given the number 730889.

Questions:

1. What type of specimen (e.g. respiratory specimen, blood, fecal) is most important for the diagnosis of novel influenza?

Facilitator Answer:  Respiratory specimens are the most important because the presence of the virus can be directly measured. However, multiple samples (different types of respiratory, blood, fecal) should be collected on multiple days.  This is also dependent on the patient’s health condition.

2. How should the hospital dispose of the materials used to collect the sample?

Facilitator Answer:  Disposable materials should be destroyed in the hospital incinerator. If no incinerator is available, one should be constructed of a metal drum, or a pit should be dug to burn the materials.  Note:  Please refer to the following table for the list of disinfectants, as well as contact time for each.
Influenza Virus Disinfection – Quick Reference

Influenza viruses are enveloped RNA viruses and are considered in the category of medium sized viruses similar to hepatitis B viruses (HBV). Remember a risk assessment should always be completed when determining appropriate disinfectants and disinfection procedures. Different pathogens require different disinfectants and contact time so this is not a universal guide. You should also keep in mind the types of procedures you are performing; for example, for molecular methods you not only want to disinfect but also degrade any potential RNA/DNA contamination. (1) 

For more information on disinfectants registered in the US that may be available in other countries, see https://www.epa.gov/pesticide-registration/selected-epa-registered-disinfectants.  The registered products that are effective against Human HIV-1 and hepatitis B virus on the list include the products that are effective against Influenza virus.

	Influenza Virus Disinfectants (adapted from APIC Guideline Table 3) (2)

	Disinfectant
	Minimum Concentration
	Important Considerations

	Sodium hypochlorite
	500 ppm


	1. Household bleach average concentration is 5.25% w/v sodium hypochlorite or about 50,000 ppm free chlorine.  When diluted 1:10 it is greater than the 500 ppm free chlorine (see #3).  

2. Diluted working stocks of bleach should be made fresh daily to maintain strength.  The bleach/ surface contact time should be 10 minutes. There are some commercially available stabilized bleach products that remove the need to make daily bleach preparations.
3. Bleach starts to deteriorate from the date of manufacture.  The active ingredient in bleach, sodium hypochlorite, naturally breaks down into salt and water. The rate of breakdown increases rapidly when bleach is stored in extreme hot or freezing temperatures, or when a bottle is more than one year old. Generally, bleach stored at room temperature (~70°F) has a shelf life of one year from manufacture date, but after that point it should be replaced.
Read more at https://www.clorox.com/dr-laundry/shelf-life/#b124H0gkOmFi0bZ7.99

	Isopropyl alcohol
	70%


	Alcohols alone are not recommended for laboratory disinfectants because rapid evaporation impedes contact time. When disinfecting surfaces inside a biosafety cabinet with 1:10 dilution of household bleach, remove residual bleach with 70% alcohol to prevent corrosion caused by bleach or use another disinfectant (3).

	Glutaraldehyde 
	2%
	

	Glutaraldehyde-phenate 
	0.13% glutaraldehyde – 0.44% phenol
	Some laboratories use 5% Lysol with 5% Glutraldehyde followed by 70% EtOH for disinfecting BSCs for influenza viruses.  

	Iodophor (Iodine) 
	80 ppm
	


References

1. Fraise, A.P., Lambert, P.A. and Maillard, J-Y, [ed.]. Russell, Hugo and Ayliffe’s: Principles and Practice of Disinfection and Preservation and Sterilization. 4th edition. Malden : Blackwell Publishing, 2004. .
2. APIC Guidelines for Infection Control Practice. Rutala, W.A. 24, s.l. : American Journal of Infection Control, 1996, pp. 313-342.

3. Guidelines for safe work practices in Human and Animal medical diagnostic laboratories. Miller, M.J., R. Astles, T. Baszler, K. Chapin, R. Carey, L. Garcia, L. Gray, D. Larone, M. Pentella, A. Pollock, D.S. Shapiro, E. Weirich, and D. Wiedbrauk. January 6, 2012, Morbidity and Mortality Weekly Report, Vol. Supplement.

Update

The mother is worried that her 2 other children may also get the illness, and asks that these children be tested for novel influenza as well. 

3. Should you recommend that samples be taken from the other children in the household?

Facilitator Answer:  Specimen samples need to be collected from both suspected cases and their contacts.  The other children in the household are close contacts, thus samples should be collected from them.

4. Will you recommend that the family chickens be tested?

Facilitator Answer:  The chickens should be tested. You should coordinate with the appropriate veterinary department and / or environmental health department to take samples from chickens, chicken coops, and in and around the home.

7. Problem Solving Exercise: Analyze laboratory data

Instructions: 

Have participants read the information given below and review the data table provided.  Then have participants answer the questions that follow. 

Background

As a result of an outbreak investigation of novel influenza, respiratory specimens were collected from 20 different people exposed to dead chickens in a small village.  The respiratory specimens were tested for the presence of the H5 virus.  Test results are summarized in the table below. 

+ means a positive test result, virus is present

- means a negative test result, virus not detected

	Subject 
	Contact with dead chickens?
	Age
	Test Result

	1
	no
	55
	-

	2
	yes
	10
	+

	3
	yes
	23
	-

	4
	no
	65
	-

	5
	no
	22
	-

	6
	no
	45
	+

	7
	no
	5
	+

	8
	yes
	10
	+

	9
	no
	45
	-

	10
	no
	70
	-

	11
	no
	23
	-

	12
	no
	30
	-

	13
	no
	32
	-

	14
	no
	17
	-

	15
	no
	21
	-

	16
	yes
	55
	-

	17
	yes
	41
	+

	18
	no
	80
	-

	19
	no
	21
	-

	20
	no
	11
	-


Questions:

1. How would you report the results?

Facilitator Answer:  One way to report the results is as they are listed above. However, this is difficult to read.  A summary report that shows the people who have contact with dead chickens and whether or not they tested positive might be most useful.  Providing an age range of those testing positive would also be helpful.  See the example given below:

Number of people tested: 20

Number of people testing positive: 5 (age range 5 years – 45 years)

Of those testing positive, 3 (60%) had contact with dead chickens.

Note:  If possible, participants are encouraged to discuss and design a standardized report form that could be used for quick reporting.  Suggested variables to be included on the report form are:  identification of the laboratory performing the testing, identification of the submitter/requester, date of sample receipt, patient’s unique identifier (match the laboratory report form), specimen type, testing result, and interpretation of results.
2. What is the prevalence of infection?

Facilitator Answer:  Prevalence = # testing positive / total # people = 5 / 20 = 25%

3. What is the prevalence of infection by exposure to dead chickens?

Facilitator Answer:  Prevalence = # testing positive with exposure / total # exposed = 

3 positive exposed / 5 exposed =60%

4. Is the infection more common in children < 18 years old, or adults?

Facilitator Answer:  The infection appears more common in children – 3/5 (60%)  children tested positive, and 2 /15 (13%) adults tested positive but this requires further evaluation, statistical testing, and a better understanding of who was selected for testing in the outbreak, and how. 

Laboratory Practice Exercises / Group Scenario 1                                                                                              27

