[image: image1.wmf]CLASS EXERCISE 1

Group A Strep Product Insert (PI)

1. What parts of the product insert (PI) should you pay attention to when performing this test?

2. Where in the product insert does it tell you what type of specimen to use?  

What is the specimen to be tested in this PI?

3. Where in the PI can we find information about quality control? 

Does this particular kit provide quality control material?

What does the PI say about quality control?

[image: image2.wmf]CLASS EXERCISE 1

Group A Strep Product Insert (PI)

Answers to Class Exercise 1

1. Intended Use

Specimen Collection and Preparation

Storage and Stability

Quality Control

Test Procedure

Interpretation of Test Results

2. Intended Use

A properly collected throat swab

3. Under the quality control section

Yes, control material both positive and negative

The PI says that it is good laboratory practice that you perform quality control.  It also tells you the frequency of testing quality control and the expected values.

� EMBED MS_ClipArt_Gallery  ���





� EMBED MS_ClipArt_Gallery  ���








[image: image3.wmf]_1079514818

