## Slide 1
CRE Surveillance Activities
Dave Warshauer, PhD, D(ABMM)
Deputy Director, Communicable Diseases
Wisconsin State Laboratory of Hygiene
2012 WCLN AST Workshop
May 10, 2012 Lake Delton, WI

## Slide 2: Antimicrobial Susceptibility Methods
Kirby-Bauer Disk Diffusion
Commercial Minimal Inhibitory Concentration (MIC) Methods
  Vitek®
  MicroScan®
  BD Phoenix®
  Sensititre®
E-test

## Slide 3: Enterobacteriaceae Revised… Carbapenem MIC Breakpoints (µg/ml)
Agent | CLSI M100-S19 (2009) |  |  | CLSI M100-S20 (2010) Supplement |  | 
 | Susc | Int | Res | Susc | Int | Res
Doripenem | - | - | - | ≤1 | 2 | ≥4
Ertapenem | ≤2 | 4 | ≥8 | ≤0.25 | 0.5 | ≥1
Imipenem | ≤4 | 8 | ≥16 | ≤1 | 2 | ≥4
Meropenem | ≤4 | 8 | ≥16 | ≤1 | 2 | ≥4

## Slide 4: Which AST method does your laboratory use for the Enterobacteriaceae?
A. Kirby-Bauer Disk Diffusion
B. Vitek Legacy or Vitek 2
C. Sensititre
D. Microscan
E. BD Phoenix

## Slide 5: Which CLSI Guidelines Is Your Laboratory Using?
A. The “Old” 2009 CLSI Guidelines (M100-S19)
B. The “New Revised” CLSI Guidelines
C. Not Sure

## Slide 6: SCREENING FOR CRE USING “OLD” 2009 CLSI BREAKPOINTS:
IF
Ertapenem MIC 2-4 ug/ml
or
Imipenem MIC 2-8 ug/ml
or
Meropenem MIC 2-8 ug/ml
THEN
Perform Modified Hodge Test

## Slide 7
Lawn of E. coli ATCC 25922
1:10 dilution of a
0.5 McFarland suspension
Pos Control
Neg Control
KPC +
KPC -
Modified Hodge Test
Not specific for KPC
Confirm with PCR
Courtesy J. Patel, CDC

## Slide 8: Enterobacter and MHT

## Slide 9: Does Your laboratory
A. Perform the Modified Hodge Test
B. Perform KPC PCR
C. Perform both Modified Hodge and KPC PCR
D. Not perform either
E. Don’t know

## Slide 10: Not all carbapenem resistance is due to KPC
KPC
Metallo β Lactamase (MBL)
Hyper AmpC with porin abnormalities
Reflux/Efflux pump mechanisms

## Slide 11: Culture Screen Method for Patients w/KPC
Rectal
Swab
5 ml TSB
Add 10 μg
Ertapenem disk
(2 μg/mL)
35°C/18 hours
PCR assay
For BLAKPC
Advantages:
Rapid and sensitive
Target is the BLAKPC plasmid not bacteria
Procedure from J. Patel, CDC

## Slide 12
Chromagar
Not FDA Approved

## Slide 13: Testing Offered at WSLH
Modified Hodge Test
KPC PCR
  Clinical labs may submit isolates for fee-exempt confirmation.

## Slide 14: Laboratory Surveillance for KPC (CRE)
Enterobacteriaceae (excluding Proteus spp., Morganella spp, and Providencia spp.) that meet the following criteria:
  Ertapenem MIC 2-4 ug/ml or DD 19-21mm
  Or Meropenem 2-4 ug/ml or DD 16-21mm
  Or Imipenem 2-4 ug/ml
Submit isolate to WSLH with your AST results
WSLH will perform MHT and KPC PCR

## Slide 15: Isolates submitted to WSLH Dec 2011 thru February 2012
Species | KPC Negative | KPC Positive
Klebsiella pneumoniae | 2 | 7
Escherichia coli | 6 | 
Enterobacter cloacae |  | 1
Citrobacter freundii | 1 | 

## Slide 16: K. Pneumoniae KPC Cluster PFGE Subtyping

## Slide 17: U.S. Reported KPC- 2011
http://www.cdc.gov/HAI/organisms/cre.html

## Slide 18: Thanks to all the labs who have submitted isolates!
Please continue to submit CRE’s in the future